STAGE / EDUCATION

FIRE SAFETY &
EMERGENCY EVACUATION PACK

2026–27

Prevent • Warn • Evacuate • Account • Communicate • Review

| CONTROL | DETAIL |
| --- | --- |
| Setting | Stageworks Education |
| Address | Unit 2, Onkar House, Winster Grove, Great Barr, Birmingham, B44 9EG |
| Provision | Specialist performing-arts education for children |
| Known escape arrangements | Two emergency exits – to be verified against the current Fire Risk Assessment |
| Current assembly point | Corner of Winster Grove / Shady Lane – to be verified before formal sign-off |
| Responsible Person | To be formally confirmed according to legal control of the premises |
| Fire Safety Lead / Coordinator | To be designated |
| Version | 1.0 – August 2026 |
| Review | At least annually and after material change, drill findings, fire/near miss, occupancy change or Fire Risk Assessment review |

This pack supports day-to-day fire management and inspection evidence. It does not replace the legally required suitable and sufficient Fire Risk Assessment or competent servicing/inspection of fire systems.

# Contents

Part A – Fire Safety Management Policy

Part B – Emergency Evacuation Procedure

Part C – Staff Fire Roles and Responsibilities

Part D – Children, Visitors and People Requiring Assistance

Part E – Fire Drills and Training

Part F – Routine Fire Safety Checks

Part G – Fire System Servicing and Evidence Register

Part H – Fire Incident / Near-Miss Procedure

Part I – Emergency Procedures Beyond Fire

Part J – Inspection Readiness Checklist

Appendices – Fire Action Notice, PEEP/Individual Evacuation Plan, drill log, checks and staff briefing

# Legal and guidance basis

For non-domestic premises in England, the Responsible Person must carry out and regularly review a written fire risk assessment, maintain appropriate fire precautions, plan for emergencies, and provide staff with fire-safety information, instruction and training. Where more than one Responsible Person has duties in shared premises, they must co-operate and co-ordinate.

The Home Office educational-premises guide specifically covers educational settings including schools, after-school clubs, adult education centres and music schools. Stageworks Education uses this guidance as the closest premises-specific benchmark for its education and performing-arts setting.

Government guidance also requires suitable detection/warning arrangements, maintained fire equipment, clear escape routes and staff training. Fire drills should be carried out at least annually, with frequency increased where the Fire Risk Assessment indicates this is necessary.

# PART A – FIRE SAFETY MANAGEMENT POLICY

## 1. Statement of intent

Stageworks Education will take all reasonably practicable measures to prevent fire and to ensure children, staff, visitors, contractors and other relevant persons can reach a place of safety quickly if fire occurs.

Keep a current written Fire Risk Assessment for the premises.

Identify the Responsible Person(s) and ensure overlapping duties with landlord/building management are coordinated.

Maintain escape routes, exits, alarms, emergency lighting, signs and firefighting equipment as required by the Fire Risk Assessment.

Ensure staff know how to raise the alarm, call the Fire and Rescue Service, evacuate pupils and account for everyone.

Make suitable arrangements for children, staff or visitors who may need assistance to evacuate.

Train staff at induction and when risks/procedures change; test procedures through recorded drills.

Record faults, incidents, near misses and corrective actions.

Never allow safeguarding/security arrangements to prevent immediate escape in an emergency.

## 2. Fire safety responsibilities

| ROLE | RESPONSIBILITY |
| --- | --- |
| Responsible Person(s) | Legal oversight; suitable and sufficient Fire Risk Assessment; precautions; emergency planning; information/training; cooperation with other Responsible Persons. |
| Founder / Principal | Ensure Stageworks operational procedures are implemented, resources provided, actions closed and evidence available. |
| Fire Safety Lead / Coordinator | Maintain fire log/evidence; routine checks; organise drills/training; report faults; liaise with competent contractors and Responsible Person. |
| Teachers / practitioners | Know exits and assembly point; supervise pupil evacuation; complete roll call/accounting duties; report obstructions/faults immediately. |
| Reception / administration where present | Maintain accurate attendance/visitor information and make it available for evacuation accounting. |
| Fire wardens / marshals where designated | Support evacuation/sweep only where safe and without delaying their own escape; report status at assembly point. |
| All staff | Raise alarm, evacuate, follow instructions, never re-enter and never put themselves at risk to fight a fire. |
| Landlord / building manager / other occupiers | Co-operate and coordinate where fire-safety responsibilities overlap; provide relevant building-system information and records. |

## 3. Fire hazards requiring active control

Electrical faults, damaged leads, overloaded sockets and portable equipment.

Heating equipment and hot surfaces.

Combustible costumes, scenery, paper/card, decorations and stored materials.

Cleaning products and any flammable substances.

Kitchen appliances and cooking/heating activity.

Temporary stage/production equipment, lighting or event installations.

Blocked escape routes, propped fire doors or defective final exits.

Unauthorised alterations to rooms, doors, partitions or occupancy.

Charging devices/batteries and unattended electrical equipment.

Contractor hot work or other higher-risk maintenance activity.

# PART B – EMERGENCY EVACUATION PROCEDURE

## 4. If you discover a fire or smoke

Raise the fire alarm immediately using the building’s agreed alarm method.

Call 999 and ask for the Fire and Rescue Service as soon as it is safe to do so. Give the full premises address.

Do not attempt to investigate the fire or delay evacuation.

Only use firefighting equipment if trained, it is safe, escape remains available and the Fire Risk Assessment/procedure supports this. Evacuation takes priority.

Proceed to the nearest safe exit and report to the assembly point.

## 5. When the alarm sounds

Stop the activity immediately.

Teacher/staff member directs children calmly to the nearest safe available exit. Do not automatically use the normal entrance if another route is safer.

Do not collect bags, coats, phones or other belongings.

Close doors behind you where safe; do not lock them.

Staff must not delay escape to complete an extensive search. Any agreed sweep is only undertaken if safe and must never compromise evacuation.

Take the class register/attendance information only if it is immediately available without delaying evacuation.

Proceed directly to the designated assembly point.

Keep pupils together by class/group and conduct a roll call immediately.

Report any missing person to the person in charge and Fire and Rescue Service. No member of staff or pupil re-enters to search.

Do not re-enter until the Fire and Rescue Service or authorised person confirms it is safe.

## 6. Accounting for children and adults

Registers must reflect actual attendance, including late arrivals and early departures.

Visitor and contractor sign-in information must be available for accounting.

Each teacher accounts for their own group and reports clearly: ALL ACCOUNTED FOR / MISSING / EXTRA PERSON.

The incident lead collates group reports and provides missing-person information to the Fire and Rescue Service.

Parents must not remove a child from the assembly point until the emergency lead authorises controlled collection and the child is signed out.

## 7. Current Stageworks-specific details to verify

| ITEM | CURRENT WORKING DETAIL | VERIFICATION |
| --- | --- | --- |
| Exit 1 | Emergency exit – exact route/signage to be inserted from current Fire Risk Assessment | ☐ Verified |
| Exit 2 | Second emergency exit – exact route/signage to be inserted from current Fire Risk Assessment | ☐ Verified |
| Assembly point | Corner of Winster Grove / Shady Lane | ☐ Verified |
| Alarm method | Insert exact alarm type/sound and manual call-point arrangement | ☐ Verified |
| 999 address | Unit 2, Onkar House, Winster Grove, Great Barr, Birmingham, B44 9EG | ☐ Verified |
| Fire panel location | Insert | ☐ Verified |
| Main electrical isolation | Insert if staff need to know / safe to access | ☐ Verified |
| Gas isolation | Insert if applicable | ☐ N/A ☐ Verified |

# PART C – STAFF FIRE ROLES

## 8. Evacuation role allocation

| FUNCTION | PRIMARY PERSON | DEPUTY | KEY DUTY |
| --- | --- | --- | --- |
| Incident / evacuation lead |  |  | Take overall control at assembly point; liaise with emergency services. |
| Alarm / emergency call |  |  | Ensure alarm raised and 999 called. |
| Register / pupil accounting |  |  | Ensure registers available and collect class reports. |
| Visitor / staff accounting |  |  | Account for adults/visitors/contractors. |
| Studio 1 evacuation |  |  | Lead pupils out via nearest safe route. |
| Studio 2 evacuation |  |  | Lead pupils out via nearest safe route. |
| Studio 3 evacuation |  |  | Lead pupils out via nearest safe route. |
| Toilet / support-area sweep if safe |  |  | Check agreed areas only if safe and without delaying escape. |
| First aid / emergency medication |  |  | Provide support at assembly point where safe and necessary. |

Roles should be simple enough to work when named staff are absent. Every teacher remains responsible for immediately evacuating the children in their care.

## 9. Staff fire briefing – minimum knowledge

Alarm method and what it sounds like.

All available escape routes and final exits.

Assembly point.

How children and visitors are accounted for.

Who calls 999 and what address to give.

How to report a missing person.

Arrangements for anyone needing assistance.

Prohibition on re-entry.

How to report a fire-safety defect or near miss.

Any limits on use of firefighting equipment.

# PART D – PEOPLE REQUIRING ASSISTANCE

## 10. Individual evacuation planning

The Fire Risk Assessment must consider young children and people who may need assistance because of mobility, sensory, cognitive, communication, medical or temporary needs. Stageworks Education will create an individual evacuation arrangement where general procedures are not sufficient.

Discuss needs sensitively with the pupil/parent/carer or adult concerned.

Identify the safest available routes and any assistance required.

Do not rely on the Fire and Rescue Service as the routine evacuation plan.

Identify trained/briefed assistants and deputies where needed.

Consider alarm recognition, communication, mobility, stairs, anxiety, sensory needs and emergency medication.

Practise the arrangement proportionately and review after changes.

## 11. Individual / Personal Emergency Evacuation Plan (PEEP-style template)

| FIELD | DETAIL |
| --- | --- |
| Name |  |
| Role / class |  |
| Need affecting evacuation |  |
| How the alarm will be recognised / communicated |  |
| Normal location(s) |  |
| Primary escape route |  |
| Alternative escape route |  |
| Assistance / equipment required |  |
| Named assistant(s) / deputy |  |
| Assembly arrangements |  |
| Emergency medication / medical consideration |  |
| Parent/carer consulted (child) |  |
| Practice / briefing completed |  |
| Review date / triggers |  |

Note: the 2025 Residential PEEPs Regulations apply to specified residential buildings, not this non-residential education studio. This template is therefore used as good person-centred evacuation practice, not because those residential regulations apply to Stageworks Education.

# PART E – FIRE DRILLS & TRAINING

## 12. Fire drill standard

Carry out at least one recorded fire drill each year, and more often where the Fire Risk Assessment, changes, staff turnover or pupil needs indicate.

Use drills to test the emergency plan, not simply evacuation speed.

Include alternative-route scenarios periodically where safe and appropriate.

Consider new staff, new pupils, visitors and individual evacuation arrangements.

Do not introduce avoidable risk through unrealistic or unsafe surprise scenarios.

Debrief promptly and record weaknesses, actions, owners and completion dates.

## 13. Fire drill record

| DATE / TIME | GROUPS PRESENT | SCENARIO / EXIT TESTED | ALARM TO ASSEMBLY | ACCOUNTED? | ISSUES | ACTION / OWNER / DUE |
| --- | --- | --- | --- | --- | --- | --- |

## 14. Staff fire training register

| STAFF NAME | ROLE | INDUCTION | FIRE PROCEDURE | EXTINGUISHER TRAINING IF REQUIRED | DRILL PARTICIPATION | REFRESHER DUE |
| --- | --- | --- | --- | --- | --- | --- |

# PART F – ROUTINE FIRE SAFETY CHECKS

## 15. Every Stageworks Education day – opening check

| CHECK | OK | DEFECT / ACTION |
| --- | --- | --- |
| Escape routes clear and usable | ☐ |  |
| Final exits unobstructed and capable of immediate opening | ☐ |  |
| Fire doors not wedged/propped unless approved automatic device | ☐ |  |
| Fire exit signs visible | ☐ |  |
| Alarm/fire panel shows no known fault | ☐ |  |
| Extinguishers visibly present and unobstructed | ☐ |  |
| Emergency lighting units/signs visibly undamaged | ☐ |  |
| Combustibles/storage not obstructing exits or heat/electrical sources | ☐ |  |
| Studios/toilets/support areas ready for safe evacuation | ☐ |  |
| Registers/visitor information ready | ☐ |  |

## 16. Recorded routine checks

The exact inspection/test frequency must follow the Fire Risk Assessment, manufacturer instructions and competent servicing regime. The register below records the schedule adopted for this premises.

| SYSTEM / ITEM | ADOPTED FREQUENCY | DATE | RESULT | FAULT / ACTION | INITIALS |
| --- | --- | --- | --- | --- | --- |
| Fire alarm user test |  |  |  |  |  |
| Emergency lighting user check/test |  |  |  |  |  |
| Final exits / escape routes |  |  |  |  |  |
| Fire doors |  |  |  |  |  |
| Extinguishers visual check |  |  |  |  |  |
| Fire signage |  |  |  |  |  |
| Fire panel / fault status |  |  |  |  |  |
| Combustible storage / housekeeping |  |  |  |  |  |

## 17. Fire defect log

| DATE | DEFECT | IMMEDIATE CONTROL | REPORTED TO | PRIORITY | TARGET DATE | CLOSED / EVIDENCE |
| --- | --- | --- | --- | --- | --- | --- |

# PART G – SERVICING & EVIDENCE REGISTER

## 18. Master fire evidence register

| EVIDENCE | PROVIDER / RESPONSIBLE PARTY | LAST DATE | NEXT DUE | LOCATION / CERTIFICATE | STATUS |
| --- | --- | --- | --- | --- | --- |
| Current written Fire Risk Assessment |  |  |  |  | ☐ |
| Fire alarm / detection inspection & servicing |  |  |  |  | ☐ |
| Emergency lighting inspection & servicing |  |  |  |  | ☐ |
| Fire extinguisher inspection / maintenance |  |  |  |  | ☐ |
| Fire door inspection / maintenance where applicable |  |  |  |  | ☐ |
| Fire signage / escape-route review |  |  |  |  | ☐ |
| Fire drill records |  |  |  |  | ☐ |
| Staff fire training / induction |  |  |  |  | ☐ |
| Fire system fault / repair records |  |  |  |  | ☐ |
| Landlord/building fire information and coordination record |  |  |  |  | ☐ |
| Individual evacuation plans where required |  |  |  |  | ☐ |
| Event / production-specific fire assessments where required |  |  |  |  | ☐ |

## 19. Shared premises / landlord coordination record

| QUESTION | ANSWER / EVIDENCE |
| --- | --- |
| Who is/are the legal Responsible Person(s) for the areas Stageworks occupies? |  |
| Who controls common areas and shared escape routes? |  |
| Who maintains the building fire alarm? |  |
| Who maintains emergency lighting? |  |
| Who maintains extinguishers? |  |
| Who maintains fire doors / compartmentation? |  |
| How are faults reported and escalated? |  |
| Are there other occupiers whose evacuation plans interact with ours? |  |
| When was fire-safety coordination last reviewed? |  |

# PART H – FIRE INCIDENT / NEAR MISS

## 20. After a fire, alarm activation or significant near miss

Ensure immediate safety and emergency response.

Preserve relevant information/evidence without entering an unsafe area.

Record time, location, persons involved, alarm/evacuation performance and any injury/damage.

Notify landlord/building manager, insurer, enforcing authority or other party where required.

Review whether the Fire Risk Assessment and emergency plan remain suitable.

Close urgent defects before normal use resumes where safety could be compromised.

Brief staff on lessons learned and record corrective actions.

## 21. Fire / alarm / near-miss record

| FIELD | DETAIL |
| --- | --- |
| Date/time |  |
| Type | ☐ Fire ☐ Smoke ☐ False alarm ☐ Near miss ☐ System failure |
| Location / source |  |
| Who raised alarm |  |
| 999 / Fire & Rescue attendance |  |
| Evacuation time / accounting result |  |
| Injuries / first aid |  |
| System performance |  |
| Immediate actions |  |
| Cause / suspected cause |  |
| Fire Risk Assessment reviewed |  |
| Corrective actions / owner / due date |  |
| External notifications |  |

# PART I – OTHER EMERGENCY EVACUATION / SHELTER PROCEDURES

HSE guidance recommends recorded and rehearsed emergency arrangements for foreseeable major incidents. Stageworks Education should maintain proportionate procedures for emergencies beyond fire.

| EMERGENCY | INITIAL RESPONSE |
| --- | --- |
| Serious medical emergency | Stop activity; make area safe; first aid; call 999; manage pupils; meet ambulance; notify parent/carer/DSL as appropriate. |
| Gas smell / suspected leak | Do not operate electrical switches or create ignition source; evacuate; call emergency service/landlord from safe location; do not re-enter. |
| Electrical danger | Keep people away; isolate only if safe/authorised; first aid/999 if required; competent repair before reuse. |
| Flood / water ingress | Keep people away from electrical risk; evacuate affected area; isolate services if safe; contact landlord/emergency contractor. |
| Structural concern | Evacuate affected area/building; prevent access; contact landlord/emergency services/competent professional. |
| External threat / security incident | Follow proportionate lockdown/invacuation or evacuation instruction according to the threat; call police where necessary; maintain pupil accounting and safeguarding. |
| Severe weather / loss of utilities | Assess whether safe operation can continue; relocate, close or arrange controlled collection as required; communicate with families/schools. |

## 22. Emergency contacts sheet

| CONTACT | DETAIL |
| --- | --- |
| Emergency services | 999 |
| Premises address | Unit 2, Onkar House, Winster Grove, Great Barr, Birmingham, B44 9EG |
| Founder / Principal | Emma Hobbis – insert preferred emergency number |
| Deputy / senior contact | Insert |
| Landlord / building manager | Insert |
| Fire alarm contractor | Insert |
| Emergency lighting contractor | Insert |
| Extinguisher contractor | Insert |
| Electrical contractor | Insert |
| Gas emergency (if applicable) | Insert applicable emergency contact |

# PART J – INSPECTION READINESS

## 23. Fire safety RAG audit

| INSPECTION QUESTION | RAG | EVIDENCE / ACTION |
| --- | --- | --- |
| Can we identify the Responsible Person(s) and demonstrate coordination with the landlord/building manager? | ☐ G ☐ A ☐ R |  |
| Is there a current suitable and sufficient written Fire Risk Assessment? | ☐ G ☐ A ☐ R |  |
| Are all actions from the Fire Risk Assessment complete or actively controlled? | ☐ G ☐ A ☐ R |  |
| Can every staff member explain what to do when the alarm sounds? | ☐ G ☐ A ☐ R |  |
| Can staff identify both available escape routes? | ☐ G ☐ A ☐ R |  |
| Are exits and routes kept clear and capable of immediate use? | ☐ G ☐ A ☐ R |  |
| Are alarm/detection systems maintained and faults recorded? | ☐ G ☐ A ☐ R |  |
| Is emergency lighting maintained? | ☐ G ☐ A ☐ R |  |
| Are extinguishers correctly provided and maintained? | ☐ G ☐ A ☐ R |  |
| Are fire doors/compartmentation managed where applicable? | ☐ G ☐ A ☐ R |  |
| Are children and visitors reliably accounted for? | ☐ G ☐ A ☐ R |  |
| Are individual evacuation arrangements in place where needed? | ☐ G ☐ A ☐ R |  |
| Have fire drills been completed, recorded and acted upon? | ☐ G ☐ A ☐ R |  |
| Is staff induction/training evidence current? | ☐ G ☐ A ☐ R |  |
| Can we produce servicing certificates and fire records promptly? | ☐ G ☐ A ☐ R |  |
| Are production props/costumes/storage managed for fire risk? | ☐ G ☐ A ☐ R |  |

## 24. Actions required before this pack is signed off

| ACTION | PRIORITY | DONE |
| --- | --- | --- |
| Upload/review the current Fire Risk Assessment and insert its exact findings, occupancy, exit routes and actions. | CRITICAL | ☐ |
| Confirm the legal Responsible Person(s), including landlord/building-management responsibilities. | CRITICAL | ☐ |
| Verify the two exits and the Winster Grove/Shady Lane assembly point against the Fire Risk Assessment. | CRITICAL | ☐ |
| Insert the exact alarm type, alarm sound, call-point/fire-panel locations and any monitored-alarm procedure. | HIGH | ☐ |
| Insert current alarm, emergency-lighting and extinguisher service/test certificates. | HIGH | ☐ |
| Designate Stageworks Fire Safety Lead and deputies/role allocation. | HIGH | ☐ |
| Complete staff fire briefing and training register. | HIGH | ☐ |
| Carry out and record a Stageworks Education fire drill using the live Friday pupil register. | HIGH | ☐ |
| Identify any child/adult needing an individual evacuation arrangement and complete the template. | HIGH | ☐ |
| Begin routine fire checks and defect log. | HIGH | ☐ |

# APPENDIX 1 – FIRE ACTION NOTICE

FIRE ACTION – STAGEWORKS EDUCATION

## IF YOU DISCOVER FIRE

Raise the alarm immediately.

Call 999 when safe and ask for FIRE AND RESCUE.

Leave by the nearest safe exit.

Go directly to the assembly point.

Do not re-enter.

## IF YOU HEAR THE FIRE ALARM

Stop activity immediately.

Follow staff instructions and leave calmly by the nearest safe exit.

Do not collect belongings.

Go to the assembly point and stay with your class/group.

Do not leave the assembly point until authorised.

Never re-enter the building.

ASSEMBLY POINT: Corner of Winster Grove / Shady Lane – VERIFY BEFORE DISPLAY

PREMISES: Unit 2, Onkar House, Winster Grove, Great Barr, Birmingham, B44 9EG

EMERGENCY: 999

# APPENDIX 2 – STAFF FIRE BRIEFING SIGN-OFF

| STATEMENT | CONFIRM |
| --- | --- |
| I know the fire alarm method/sound. | ☐ |
| I know the primary and alternative escape routes. | ☐ |
| I know the assembly point. | ☐ |
| I know how my pupils will be accounted for. | ☐ |
| I know what to do if a pupil/person is missing. | ☐ |
| I know the arrangements for anyone requiring evacuation assistance. | ☐ |
| I understand that evacuation takes priority and I must not put myself at risk. | ☐ |
| I know that I must not re-enter until authorised. | ☐ |
| I know how to report fire-safety faults and near misses. | ☐ |

Name: ____________________  Role: ____________________  Signature: ____________________  Date: __________

# APPENDIX 3 – DOCUMENT CONTROL

| VERSION | DATE | CHANGE | APPROVAL |
| --- | --- | --- | --- |
| 1.0 | August 2026 | Created as part of Stageworks Education Inspection Portfolio; operational fire and emergency evacuation framework. | Founder / Principal – pending final premises verification |

# Authoritative references

Home Office / GOV.UK: Fire safety in the workplace – responsibilities, fire risk assessments, evacuation plans, equipment, drills and training.

Home Office: Fire safety risk assessment – educational premises.

HSE: Emergency procedures – planning, competent roles, exits, training and practice.

Important: exact premises controls must ultimately follow the current Stageworks Fire Risk Assessment and competent fire-safety advice.